THERMAL-FACADE TYPE STOTHERM CLASSIC

ORGANIC GLASURE MASS AND ORGANIC FINAL PLASTER

## Preparation works

# The surface that is foreseen for the layer of thermal facade has to be though

enough,stabile and dry,without dirt and dust,oils and fates,colors,as well as

other dirt makers.

The discrepanices in the surface that is going to be handled by verticals and

horizontals mustnot be bigger than 2 cm on the 10 m length.

In order for the facade surface to be vertical at discrepancies bigger than allowed

it is necessary to use different layers of Styrofoam and not to lay additional layer

of glues in order to even the surface.

All inside plasters and cement glaciers should be finished and dry before the

thermal facade.

Making of the facade

Along the starting pillar of the facade put the skirting(Sto-Sockelleiste)

of ___ mm wideness.The skirting is to be put with the control with the spirit

level and attach it with appropriate screws(Sto-Schlagdubel),3 pcs.on 1 m

of the spirit level,the skirting vertically to even with PVC under surfaces

(sto-Unterlegscheibe).

The connection of the skirtings with PVC distancers(Sto-Sockelleisteverbinder)

whose layer stops the breaking of the facade on the connection of the skirting.

Lay into the skirting the facade thermo isolation plates out of expanded polystirol

of the theickness of ___ cm,of a maximum weight 15-16 kg/m3,starting with the

skirting level towards the top of the facade with movement on the half of the plate

with each new row.

The plates are to be attached by glue(StoLevell Uni)along the adge and additionally

on two-three spots in the middle of the plate.Te spending for glue is 4-6 kg/m2

if the surface on which the thermal isolation is glued on does not stand in the

discrepancy with the horizontality and verticality.During the glue layer one has

to take care that the glue does not come out onto the surface of the plate because

the thermical bridge is being created.With the treatment of the plates by thermals it

is necessary to put between the Styrofoam and opening on the facade(windows and

similar)the tape with glue on both sides(Sto-Fugendichtband)that is glued on the

Styrofoam before putting it on the surface.

In that way the eventual breakthrough of the water is stopped between the thermal

facade and openings on the facade.Sto-Fugendichtband is necessary to be put on

all connections of the thermal facade and other materials(example:connection of the

facade and the roof)

At setting up the thermal isolation plates the eventual wholes between the plates

bigger than 2 mm is necessary to fill with pur-foam.After 48 hours(when the glue

is dried)the thermal isolation plates are to be screwed with appropriate screws

Sto-Tellerdubel).Eventual under surfaces on the facade that are plated by thermal

plates it is also necessary to screw.

The screws have to go in at least 5 cm into the carrying construction(wall).

At setting up of the thermal isolation it is necessary to at the same time if they

are not installed to set up the appropriate window benches that are connected

with the thermal facade by Fugendichtband.

After the set up of the thermal isolation the next step is the whetting of the

complete surface of the Styrofoam.The whetting is to be made by big whettener

with the paper surface.After the whetting the complete dusting is to be made.

After the dusting of the entire surface the processing of all edges on the facade

is the next step(objects edges,plates and all other edges)with PVC angle profiles

with armature net(Sto-Gewebewinkel)or with Sto-Rolleckwinkel if the edge that

is processed is under smaller angle or bigger than 90 degrees.

On the edges of the balcony,lodges and similar the PVC profile with the water

collector is to be installed(Sto-Tropfkantenprofil).After the processing of all the

edges in the wideness of 110-120 cm the glacier mass is to be laid(StoLevell Classic).

The spenditure is 3,5-4 kg/m2.In the wet glacier the armature net

(Sto Glasfasergewebe)is to be put with pressing on it,with overlapping of 10 cm.The spenditure of the net id 1,1 m2/m2.The armature net is made of glass tissues that are fabrically tied so that  the module of stretching is partially disabled.Right after the pressing of the net the surface is to be glatted so that the armature is not to be seen.

The entire thickenss of the glacier is 3,0 mm.

After 24 hours put the final layer of organicaly tied decorative facade plaster (Stolit K/R)that has the dispersion of artificial glues as tying tissue and as additional materials has marmot san and quarz and that releases trough the steam but not water in the color by the choice of the projectant from the NCS systems or system colors StoColor System.

The spenditure depends on final plaster and granule size.The facade plaster Stolit K/R

is resistant to athmopshereals.The surface of the facade is finally to be structured

with small PVC flatting device.

NOTE:

The facade works must not be done in bad weather that might impact the quality of the works.Under bad weather considered is:(rain,snow,ice) strong fog ,thick air,winds ower 30km/h and temperature below 5 and above 30 degrees C.

The plaster is to be put on the surface without stopping.